## Overview (hidden)
Sequence Overview
Sequence Details
Name: |  | SAT Bobine050924 |  |  | Created On: | 2024-09-05 10:37
Directory: |  |  |  |  | Created By: | Admin
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2024-09-05 12:00
No. of Injections: |  | 11 |  |  | Updated By: | Admin
Injection Details
No | Injection Name | Position | Type | Level | Inject Time | Status
1 | rga, splitflow op alox channel, splitratio 4 | 1 | Unknown |  | 2024-08-29 14:37 | Finished
2 | C1C6 cyl | 1 | Unknown |  | 2024-09-04 17:09 | Finished
3 | air labo | 1 | Unknown |  | 2024-09-04 18:03 | Finished
4 | C1C6 cyl | 1 | Check Standard |  | 2024-09-05 11:02 | Finished
5 | C1C6 cyl | 2 | Calibration Standard | 1 | 2024-09-05 11:18 | Finished
6 | C1C6 cyl | 3 | Unknown |  | 2024-09-05 11:36 | Finished
8 | C1C6 cyl | 4 | Unknown |  | n.a. | Idle
9 | C1C6 cyl | 5 | Unknown |  | n.a. | Idle
10 | C1C6 cyl | 6 | Unknown |  | n.a. | Idle
11 | C1C6 cyl | 7 | Unknown |  | n.a. | Idle

## Integration (hidden)
Chromatogram and Results
Injection Details
Injection Name: |  | 060225 injection 10 |  |  | Run Time (min): | 14.9983
Vial Number: |  | 103 |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | FrontC1C6
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Bobine online |  |  | Bandwidth: | n.a.
Processing Method: |  | PM_Quant final_2 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2025-02-06 10:58 |  |  | Sample Weight: | 1
Chromatogram
Integration Results
No. | Peakname | RetentionTime | Area | Height | Relative Area | Rel.Height | Amount
|  | min | pA*min | pA | % | % | %
FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6
n.a. | Component 3 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Methane | 1.9833 | 0.8263 | 41.7675 | 5.0974 | 5.4011 | n.a.
2 | Ethane | 2.1233 | 0.52841 | 29.3427 | 3.2597 | 3.7944 | n.a.
3 | Ethylene | 2.26 | 4.456 | 241.3753 | 27.489 | 31.213 | n.a.
4 | Propane | 2.58 | 0.39167 | 22.3381 | 2.4162 | 2.8886 | n.a.
n.a. | Cyclopropane | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Propylene | 3.1833 | 3.1677 | 176.1462 | 19.5416 | 22.778 | n.a.
n.a. | Propadiene | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | iso-Butane | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 | Acetylene | 3.5817 | 0.003243 | 0.17892 | 0.020006 | 0.023137 | n.a.
8 | n-Butane | 3.7317 | 0.26339 | 13.7263 | 1.6248 | 1.775 | n.a.
n.a. | trans-2-Butene | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | 1-Butene | 4.5383 | 0.10607 | 5.6798 | 0.65434 | 0.73447 | n.a.
10 | iso-Butylene | 4.65 | 1.6139 | 81.9707 | 9.9563 | 10.5999 | n.a.
11 | cis-2-Butene | 4.8 | 0.093255 | 4.7874 | 0.57528 | 0.61907 | n.a.
n.a. | Component 2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
12 | C5 Unknown1 | 4.9267 | 0.08103 | 4.1602 | 0.49987 | 0.53797 | n.a.
n.a. | iso-Pentane | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
13 | C5 Unknown2 | 5.21 | 0.0079122 | 0.36578 | 0.04881 | 0.0473 | n.a.
15 | n-Pentane | 5.4583 | 0.17618 | 8.7328 | 1.0868 | 1.1293 | n.a.
16 | 1,3-Butadiene | 5.6633 | 1.3561 | 58.1847 | 8.3657 | 7.5241 | n.a.
18 | trans-2-Pentene | 6.1267 | 0.15221 | 6.1358 | 0.93894 | 0.79344 | n.a.
19 | 2-methyl-2-Butene | 6.23 | 0.075928 | 3.0986 | 0.4684 | 0.40069 | n.a.
n.a. | 1-Pentene | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
21 | cis-2-Pentene | 6.5433 | 0.86664 | 32.2843 | 5.3463 | 4.1748 | n.a.
23 | C5 unknown3 | 6.73 | 0.050511 | 1.8146 | 0.3116 | 0.23465 | n.a.
n.a. | C6 Unknown1 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | C6 Unknown2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
25 | n-Hexane | 8.03 | 0.12805 | 3.4406 | 0.78991 | 0.44491 | n.a.
26 | C6 unknown3 | 8.1133 | 0.21478 | 5.1425 | 1.3249 | 0.665 | n.a.
n.a. | C6 unknown3 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
27 | C6 unknown4 | 8.7117 | 0.019399 | 0.42494 | 0.11967 | 0.054951 | n.a.
28 | C6 unknown5 | 8.865 | 0.1158 | 2.4171 | 0.71438 | 0.31256 | n.a.
29 | C6 unknown7 | 9.0283 | 0.25922 | 4.5263 | 1.5991 | 0.5853 | n.a.
31 | C6 unknown9 | 9.7483 | 0.013432 | 0.27357 | 0.082861 | 0.035377 | n.a.
32 | Benzene | 9.9283 | 1.0192 | 18.9905 | 6.2876 | 2.4557 | n.a.
33 | Toluene? | 12.1233 | 0.1105 | 1.5178 | 0.6817 | 0.19627 | n.a.
Total: |  |  | 16.097 | 768.8229 | 99.3013 | 99.419

## Calibration (hidden)
Calibration
Calibration Details |  | Component 3
Calibration Type |  | Manual |  |  | Offset (C0) |  | 0
Evaluation Type |  | Area |  |  | Slope (C1) |  | 0
Number of Calibration Points |  | 0 |  |  | Curve (C2) |  | 0
Number of disabled Calibration Points |  | 0 |  |  | R-Square |  | n.a.
Calibration Plot |  | Component 3
Calibration Results |  | Component 3
No. | Injection Name | Level | X Value | Y Value | Residual | Area | Height
|  |  | % | Unit? | % | pA*min | pA
|  |  | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6
|  |  | Component 3 | Component 3 | Component 3 | Component 3 | Component 3
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## Peak Analysis (hidden)
Peak Analysis
Injection Details
Injection Name: |  | 060225 injection 10 |  |  | Run Time (min): | 14.9983
Vial Number: |  | 103 |  |  | Injection Volume: | 1
Injection Type: |  | Unknown |  |  | Channel: | FrontC1C6
Calibration Level: |  |  |  |  | Wavelength: | n.a.
Instrument Method: |  | Bobine online |  |  | Bandwidth: | n.a.
Processing Method: |  | PM_Quant final_2 |  |  | Dilution Factor: | 1
Injection Date/Time: |  | 2025-02-06 10:58 |  |  | Sample Weight: | 1
Chromatogram
Peak Results
No. | Peakname | Ret.Time | Width (50%) | Type | Resolution (EP) | Asymmetry (EP) | Plates (EP)
|  | min | min
FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6
n.a. | Component 3 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
1 | Methane | 1.9833 | 0.018626 | BMB | 4.6474 | 1.0309 | 62812
2 | Ethane | 2.1233 | 0.01692 | BMB | 4.7005 | 1.1221 | 87242
3 | Ethylene | 2.26 | 0.017388 | BMB | 11.1463 | 1.1069 | 93587
4 | Propane | 2.58 | 0.016488 | BMB | 21.2874 | 1.1472 | 135643
n.a. | Cyclopropane | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | Propylene | 3.1833 | 0.016956 | BMB | 14.0567 | 1.116 | 195277
n.a. | Propadiene | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | iso-Butane | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 | Acetylene | 3.5817 | 0.016483 | BMB | 5.2265 | 1.1504 | 261587
8 | n-Butane | 3.7317 | 0.017383 | BMB | 27.1429 | 0.99192 | 255312
n.a. | trans-2-Butene | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | 1-Butene | 4.5383 | 0.017686 | BMB | 3.6335 | 1.0384 | 364799
10 | iso-Butylene | 4.65 | 0.018578 | BMB | 4.7806 | 1.0439 | 347054
11 | cis-2-Butene | 4.8 | 0.018446 | BMB | 4.0529 | 1.0025 | 375123
n.a. | Component 2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
12 | C5 Unknown1 | 4.9267 | 0.018433 | BMB | 8.7136 | 1.0302 | 395761
n.a. | iso-Pentane | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
13 | C5 Unknown2 | 5.21 | 0.019936 | BMB | 2.1764 | 1.1387 | 378351
15 | n-Pentane | 5.4583 | 0.019056 | BMB | 5.9301 | 1.0716 | 454545
16 | 1,3-Butadiene | 5.6633 | 0.021736 | BM | 1.9834 | 1.1274 | 376094
18 | trans-2-Pentene | 6.1267 | 0.023219 | BMB | 2.6306 | 1.048 | 385729
19 | 2-methyl-2-Butene | 6.23 | 0.023132 | BMB | 4.4521 | 0.9992 | 401834
n.a. | 1-Pentene | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
21 | cis-2-Pentene | 6.5433 | 0.025179 | BM | 1.1457 | 1.0391 | 374140
23 | C5 unknown3 | 6.73 | 0.026026 | BMB | 11.0116 | 1.0566 | 370453
n.a. | C6 Unknown1 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
n.a. | C6 Unknown2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
25 | n-Hexane | 8.03 | 0.034869 | BM | 1.3404 | n.a. | 293802
26 | C6 unknown3 | 8.1133 | 0.03849 | MB | 8.8087 | 1.0645 | 246163
n.a. | C6 unknown3 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
27 | C6 unknown4 | 8.7117 | 0.041662 | BM | 2.14 | n.a. | 242228
28 | C6 unknown5 | 8.865 | 0.042887 | M | 2.1519 | n.a. | 236711
29 | C6 unknown7 | 9.0283 | 0.046679 | M | 2.2133 | n.a. | 207244
31 | C6 unknown9 | 9.7483 | 0.04655 | BMB | 2.1986 | 1.0023 | 242963
32 | Benzene | 9.9283 | 0.050057 | BMB | 21.9558 | 1.0496 | 217940
33 | Toluene? | 12.1233 | 0.067912 | BMB | n.a. | 1.0296 | 176548

## SST (hidden)
Chromatogram and SST Results
Injection Details
Injection Name: |  | Alkylphenones 1 |  | Run Time (min): | 0.45
Vial Number: |  | RA1 |  | Injection Volume: | 2
Injection Type: |  | Calibration Standard |  | Channel: | UV_VIS_1
Calibration Level: |  | 01 |  | Wavelength: | 244
Instrument Method: |  | CM_OQ |  | Bandwidth: | 4
Processing Method: |  | CM_OQ |  | Dilution Factor: | 1
Injection Date/Time: |  | 2022-07-12 13:14 |  | Sample Weight: | 1
Chromatogram
SST Results
No. | Name | Inj.Condition | Peak | Test Result | Name
1 | System Suitability Test Case 1 | All Injections | Number: 2 | Not Executed | Alkylphenones 1
2 | System Suitability Test Case 2 | injection.name starts with "Alkylphenones" | Acetanilide | Not Executed | Alkylphenones 1
3 | System Suitability Test Case 3 | (injection.number>=1 AND injection.number<=7) | Highest: peak.area | Not Executed | Alkylphenones 1
4 | System Suitability Test Case 4 | All Injections | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
5 | System Suitability Test Case 5 | injection.position = RC9 |  | Not Executed | Alkylphenones 1
6 | System Suitability Test Case 6 | Injection Type: Unknown | All Identified Peaks | Not Executed | Alkylphenones 1
Alkylphenones 1
Alkylphenones 1
| Number of executed test cases: | 0 | Total Result: | Not Executed

## Summary (hidden)
Summary
Sequence Details
Name: |  | 060225_Rx1 |  |  | Created On: | 2024-09-06 09:19
Directory: |  | 2025\02 |  |  | Created By: | Admin
Data Vault: |  | ChromeleonLocal |  |  | Updated On: | 2025-02-06 19:11
No. of Injections: |  | 42 |  |  | Updated By: | Admin
By Component |  | Component 3
No | Injection Name | Ret.Time | Area | Height | Amount | Rel.Area | Peak Type
|  | min | pA*min | pA | % | %
|  | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6 | FrontC1C6
|  | Component 3 | Component 3 | Component 3 | Component 3 | Component 3 | Component 3
1 | 060225 blanc 1 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
24 | 060125 injection 20 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
25 | 060125 injection 21 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
26 | 060125 injection 22 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
27 | 060125 injection 23 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
28 | 060125 injection 24 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
29 | 060125 injection 25 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
30 | 060225 injection 26 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
31 | 060225 injection 27 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
32 | 060225 injection 28 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
33 | 060225 injection 29 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
34 | 060225 injection 30 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
35 | 060225 injection 31 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
36 | 060225 injection 32 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
37 | 060225 injection 33 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
38 | 060225 injection 34 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
39 | 060225 injection 35 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
40 | 060225 injection 36 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
23 | 060125 injection 19 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
22 | 060125 injection 18 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
21 | 060125 injection 17 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
20 | 060125 injection 16 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
2 | 060225 blanc 2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
3 | 060225 blanc 3 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
4 | 060225 blanc 4 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
5 | 060225 injection 1 t0 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
6 | 060225 injection 2 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
7 | 060225 injection 3 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
8 | 060225 injection 4 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
9 | 060225 injection 5 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
41 | 060225 injection 37 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
10 | 060225 injection 6 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
12 | 060225 injection 8 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
13 | 060225 injection 9 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
14 | 060225 injection 10 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
15 | 060125 injection 11 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
16 | 060125 injection 12 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
17 | 060125 injection 13 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
18 | 060125 injection 14 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
19 | 060125 injection 15 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
11 | 060225 injection 7 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.
42 | 060225 injection 38 | n.a. | n.a. | n.a. | n.a. | n.a. | n.a.

## Injection Audit Trail (hidden)
Injection Audit Trail
Injection Details
Injection Name: |  | 060225 injection 10 | Run Time (min): | 14.9983
Vial Number: |  | 103 | Injection Volume: | 1
Injection Type: |  | Unknown | Channel: | FrontC1C6
Calibration Level: |  |  | Wavelength: | n.a.
Instrument Method: |  | Bobine online | Bandwidth: | n.a.
Processing Method: |  | PM_Quant final_2 | Dilution Factor: | 1
Injection Date/Time: |  | 2025-02-06 10:58 | Sample Weight: | 1
Day Time | Ret. Time | Command/Message
(UTC+01:00) | min
10:58:27 |  | Audit trail of injection "chrom://fyz6y14/ChromeleonLocal/2025/02/060225_Rx1.seq/618.smp". Executed 06/02/2025 on instrument BobineOnline (instrument controller FYZ6Y14).
10:58:27 |  | Start of injection 15 "060225 injection 10", using instrument method "Bobine online".
10:58:27 |  | Missing Inject command.
10:58:27 |  | Starting Run with Length: Unknown Film thickness: Unknown and Column ID: Unknown.
10:58:27 |  | Starting Run with Length: Unknown Film thickness: Unknown and Column ID: Unknown.
10:58:27 |  | Starting Run with Length: Unknown Film thickness: Unknown and Column ID: Unknown.
10:58:27 | 0.000 | Entered stage "Instrument Setup"
10:58:27 | 0.000 | GC.AuxCarrier3.FlowMode = PressureCtrl
10:58:27 | 0.000 | GC.AuxCarrier2.FlowMode = PressureCtrl
10:58:27 | 0.000 | GC.AuxCarrier1.FlowMode = PressureCtrl
10:58:27 | 0.000 | GC.AuxCarrier3.PressureCtrl = On
10:58:27 | 0.000 | GC.AuxCarrier2.PressureCtrl = On
10:58:27 | 0.000 | GC.AuxCarrier1.PressureCtrl = On
10:58:27 | 0.000 | GC.PrepRunTimeout = 10.00 min
10:58:27 | 0.000 | GC.EquilibrationTime = 1.00 min
10:58:27 | 0.000 | GC.ReadyDelay = 0.00 min
10:58:27 | 0.000 | GC.AuxCarrier1.VacuumCorrection = Off
10:58:27 | 0.000 | GC.AuxCarrier2.VacuumCorrection = Off
10:58:27 | 0.000 | GC.AuxCarrier3.VacuumCorrection = Off
10:58:27 | 0.000 | GC.FrontC1C6.Data_Collection_Rate = 10 Hz
10:58:27 | 0.000 | GC.FrontC1C6.AirFlow.Nominal = 350.0 ml/min
10:58:27 | 0.000 | GC.FrontC1C6.AirFlowCtrl = On
10:58:27 | 0.000 | GC.FrontC1C6.MakeupFlow.Nominal = 40.0 ml/min
10:58:27 | 0.000 | GC.FrontC1C6.MakeupFlowCtrl = On
10:58:27 | 0.000 | GC.FrontC1C6.H2Flow.Nominal = 35.0 ml/min
10:58:27 | 0.000 | GC.FrontC1C6.H2FlowCtrl = On
10:58:27 | 0.000 | GC.FrontC1C6.Temperature.Nominal = 200 °C
10:58:27 | 0.000 | GC.FrontC1C6.TempCtrl = On
10:58:27 | 0.000 | GC.FrontC1C6.Flame = On
10:58:27 | 0.000 | GC.FrontC1C6.FlameoutRetry = On
10:58:27 | 0.000 | GC.FrontC1C6.LitOffset = 1.0 pA
10:58:27 | 0.000 | GC.FrontC1C6.PeakWidth = Standard
10:58:27 | 0.000 | GC.BackOxy.Data_Collection_Rate = 10 Hz
10:58:27 | 0.000 | GC.BackOxy.AirFlow.Nominal = 350.0 ml/min
10:58:27 | 0.000 | GC.BackOxy.AirFlowCtrl = On
10:58:27 | 0.000 | GC.BackOxy.MakeupFlow.Nominal = 40.0 ml/min
10:58:27 | 0.000 | GC.BackOxy.MakeupFlowCtrl = On
10:58:27 | 0.000 | GC.BackOxy.H2Flow.Nominal = 35.0 ml/min
10:58:27 | 0.000 | GC.BackOxy.H2FlowCtrl = On
10:58:27 | 0.000 | GC.BackOxy.Temperature.Nominal = 200 °C
10:58:27 | 0.000 | GC.BackOxy.TempCtrl = On
10:58:27 | 0.000 | GC.BackOxy.Flame = On
10:58:27 | 0.000 | GC.BackOxy.FlameoutRetry = On
10:58:27 | 0.000 | GC.BackOxy.LitOffset = 1.0 pA
10:58:27 | 0.000 | GC.BackOxy.PeakWidth = Standard
10:58:27 | 0.000 | GC.AuxRightPermGas.Data_Collection_Rate = 10 Hz
10:58:27 | 0.000 | GC.AuxRightPermGas.Polarity = Negative
10:58:27 | 0.000 | GC.AuxRightPermGas.RefFlow.Nominal = 1.0 ml/min
10:58:27 | 0.000 | GC.AuxRightPermGas.RefFlowCtrl = On
10:58:27 | 0.000 | GC.AuxRightPermGas.Temperature.Nominal = 110 °C
10:58:27 | 0.000 | GC.AuxRightPermGas.TempCtrl = On
10:58:27 | 0.000 | GC.AuxRightPermGas.ColumnSource = Other
10:58:27 | 0.000 | GC.AuxRightPermGas.Filament = On
10:58:27 | 0.000 | GC.AuxRightPermGas.FilamentTemperature = 210 °C
10:58:27 | 0.000 | GC.AuxRightPermGas.PeakWidth = Standard
10:58:27 | 0.000 | GC.AuxOvenEvent1.InitialState = Off
10:58:27 | 0.000 | GC.AuxOvenEvent2.InitialState = Off
10:58:27 | 0.000 | GC.AuxOvenEvent3.InitialState = Off
10:58:27 | 0.000 | GC.AuxOvenEvent4.InitialState = Off
10:58:27 | 0.000 | GC.AuxOvenEvent5.InitialState = On
10:58:27 | 0.000 | GC.AuxOvenEvent6.InitialState = Off
10:58:27 | 0.000 | GC.AuxOvenEvent7.InitialState = Off
10:58:27 | 0.000 | GC.AuxOvenEvent8.InitialState = Off
10:58:27 | 0.000 | GC.Heater3.Temperature.Nominal = 80 °C
10:58:27 | 0.000 | GC.Heater3.TempCtrl = On
10:58:27 | 0.000 | GC.TempCtrl = On
10:58:27 | 0.000 | Entered stage "Equilibration"
10:58:27 | 0.000 | GC.AuxCarrier1.Pressure.Nominal = 4.5000 bar
10:58:27 | 0.000 | GC.AuxCarrier2.Pressure.Nominal = 0.3500 bar
10:58:27 | 0.000 | GC.AuxCarrier3.Pressure.Nominal = 1.0000 bar
10:58:27 | 0.000 | GC.Temperature.Nominal = 80.0 °C
10:58:27 | 0.000 | Entered stage "Inject Preparation"
10:58:27 | 0.000 | GC.AuxRightPermGas.Autozero
10:58:27 | 0.000 | GC.BackOxy.Autozero
10:58:27 | 0.000 | GC.FrontC1C6.Autozero
10:58:27 | 0.000 | Wait GC.Ready
10:58:30 | 0.000 | Using MainOven Serial Number:724020120
10:58:30 | 0.000 | Using Electronics Serial Number:724120120
10:59:32 | 0.000 | New detailed run state: Waiting for equilibration time.
11:00:31 | 0.000 | Log RunState: StandBy
11:00:32 | 0.000 | Prep-run command sent to GC.
11:00:32 | 0.000 | Log RunState: PrepRun
11:00:32 | 0.000 | New detailed run state: Executing prep-run events
11:00:35 | 0.000 | New detailed run state: Waiting for start key
11:00:35 | 0.000 | Log RunState: Ready
11:00:35 | 0.000 | Log Ready: Ready
11:00:35 | 0.000 | Wait finished
11:00:35 | 0.000 | Entered stage "Start Run"
11:00:35 | 0.000 | GC.FrontC1C6.AcqOn
11:00:35 | 0.000 | GC.BackOxy.AcqOn
11:00:35 | 0.000 | GC.AuxRightPermGas.AcqOn
11:00:35 | 0.000 | Entered stage "Run"
11:00:36 | 0.012 | Log RunState: Run
11:00:36 | 0.012 | Log Ready: NotReady
11:00:38 | 0.038 | New detailed run state: Running
11:00:41 | 0.100 | GC.AuxOvenEvent3.State = On
11:00:41 | 0.100 | GC.AuxOvenEvent4.State = On
11:00:41 | 0.100 | GC.AuxOvenEvent1.State = On
11:00:47 | 0.200 | GC.AuxOvenEvent3.State = Off
11:01:29 | 0.900 | GC.AuxOvenEvent1.State = Off
11:01:35 | 1.000 | GC.Temperature.Nominal Gradient Start = 80.0 °C, End = 170.0 °C, Duration = 4.500 min
11:01:41 | 1.100 | GC.AuxOvenEvent4.State = Off
11:03:17 | 2.700 | GC.AuxOvenEvent2.State = On
11:06:05 | 5.500 | GC.Temperature.Nominal = 170.0 °C
11:06:47 | 6.200 | GC.AuxOvenEvent2.State = Off
11:10:35 | 10.000 | GC.AuxOvenEvent5.State = Off
11:10:35 | 10.000 | GC.AuxOvenEvent6.State = On
11:10:41 | 10.100 | GC.AuxOvenEvent8.State = On
11:11:05 | 10.500 | GC.Temperature.Nominal = 170.0 °C
11:15:29 | 14.900 | GC.AuxOvenEvent8.State = Off
11:15:29 | 14.900 | GC.AuxOvenEvent7.State = On
11:15:29 | 14.900 | GC.AuxOvenEvent6.State = Off
11:15:29 | 14.900 | GC.AuxOvenEvent5.State = On
11:15:32 | 14.950 | GC.AuxOvenEvent6.State = On
11:15:35 | 15.000 | Entered stage "Stop Run"
11:15:35 | 15.000 | GC.FrontC1C6.AcqOff
11:15:35 | 15.000 | GC.BackOxy.AcqOff
11:15:35 | 15.000 | GC.AuxRightPermGas.AcqOff
11:15:35 | 15.000 | GC.AuxCarrier1.Pressure.Nominal = 4.5000 bar
11:15:35 | 15.000 | GC.AuxCarrier2.Pressure.Nominal = 0.3500 bar
11:15:35 | 15.000 | GC.AuxCarrier3.Pressure.Nominal = 1.0000 bar
11:15:35 | 15.000 | Terminating instrument method chrom://fyz6y14/ChromeleonLocal/2025/02/060225_Rx1.seq/Bobine online.instmeth. Waiting for instrument to finish processing of current injection ...
11:15:41 | 15.101 | New detailed run state: Cooling down
11:15:41 | 15.101 | Log RunState: Cool
11:15:47 | 15.200 | Log RunState: NotReady
11:15:47 | 15.200 | New detailed run state: Waiting for ready
11:15:47 | 15.200 | OK to terminate instrument method chrom://fyz6y14/ChromeleonLocal/2025/02/060225_Rx1.seq/Bobine online.instmeth.
11:15:47 |  | End of injection "060225 injection 10".

## Chromatogram
Chromatogram